S-HIS Flight Summary:   20-21 August 2013

Revision:  21 August 2013,  R. Knuteson, University of Wisconsin-Madison, SSEC

Summary:

Nominal operation. No problems encountered. Real-time retrievals available on MTS.

Timeline (All times are UTC and approximate):

- 20130820T1237 SHIS power ON prior to takeoff

- 20130820T1242 Takeoff

- 20130820T2247 SHIS power OFF requested by PM inflight to diagnose AVAPS

- 20130820T2308 SHIS power ON

- 20130820T2320 SHIS detector at 78 K. Back to normal operation.

- 20130821T1208 Descent heaters ON

- 2013082110223 Instrument power OFF before descent

- 2013082110243 Instrument power ON

- 2013082110306 Instrument power OFF

- 2013082110347 Landing

S-HIS Quicklook BT Map for flight 20130820 at 11 microns (985-905 cm-1)

S-HIS Retrieval:  SkewT Quicklook Example

S-HIS Retrieval:  RH x-section Quicklook Example: 3rd leg West to East into SAL at 17.4 North Latitude